## Slide 1: SlicerRT Patient Hierarchy technical overview

## Slide 2
Type
  vtkMRMLHierarchyNode (vtkMRMLDisplayableHierarchyNode for displayable leaves)
Attributes
  HierarchyType : PatientHierarchy
  DicomLevel : [Patient/Study/Series/Subseries]
  DicomUid : [UID]
  References: e.g. RoiReferencedSeriesUid, see later
Patient Hierarchy nodes in general

## Slide 3
Patient Hierarchy tree structure #1 DICOM levels
Patient
Study
Series
Study
Subseries
Subseries
Subseries

## Slide 4
Patient Hierarchy tree structure #2 Series types
Volume Associated to vtkMRMLScalarVolumeNode types
  Generic (CT, MR, …): PatientHierarchy.SeriesModality attribute
  Dose: DicomRtImport.DoseVolume attribute
Structure set (contour hierarchy) vtkMRMLDisplayableHierarchyNode type, associated to nothing. Its children are contours (vtkMRMLContourNode) and a color table
  DicomRtImport.ContourHierarchy attribute
Plan vtkMRMLAnnotationHierarchyNode type, associated to nothing. Its children are Isocenter fiducials

## Slide 5
Patient Hierarchy tree structure #3 Reference attributes
Structure set → Referenced anatomical volume DicomRtImport.RoiReferencedSeriesUid attribute in the contour hierarchy node
Contour → DVH array node DoseVolumeHistogram.CreatedDvhNodeId attribute in contour node
DVH → Dose volume node DoseVolumeHistogram.DoseVolumeNodeId attribute in the DVH array node

## Slide 6
Outsources reparent operations for specific node types (e.g. contours have to deal with color tables and labelmap volume labels). Virtual functions to override:
AddNodeToPatientHierarchy
ReparentNodeInsidePatientHierarchy
Patient Hierarchy plugin mechanism

## Slide 7
Convenience utility functions (mostly static):
Insertion
Queries (e.g. are nodes in same branch, check DICOM level)
Set/get whole branch visibility (e.g. studies, structure sets)
Find patient hierarchy nodes
Generate tooltips
etc.
Patient Hierarchy logic class