## Slide 1: Slicer Welcome Tutorial
Sonia Pujol, Ph.D.
Brigham and Women’s Hospital
Harvard Medical School

## Slide 2: Goal
This tutorial is a short introduction to the Welcome module of the 3D Slicer open-source software.

## Slide 3: Slicer4 Basics
Slicer is an open-source software for segmentation, registration and visualization of medical imaging data
The platform is developed through a multi-institution effort of several NIH funded large-scale consortia
Slicer is for medical research only, and is not FDA approved

## Slide 4: Slicer4 Basics
Slicer4 contains 92 modules for image segmentation, registration and 3D visualization of medical imaging data.
Images courtesy of Ron Kikinis, MD

## Slide 5: Supported Platforms
Slicer is a multi-platform software developed and maintained on Mac OSX, Linux 64 & 32, and Windows 64 & 32.
Slicer requires a minimum of 2 GB of RAM and a dedicated graphic accelerator with 64 MB of on-board graphic memory.

## Slide 6: 3DSlicer version 4.0
The Welcome module is the default start-up module.

## Slide 7: Welcome to Slicer
Each module of Slicer includes a series of tabs, which give access to different functionalities.
Click on the arrow symbol to display the content of each tab.

## Slide 8: Slicer Welcome
The Main Window tab contains information on the basic organization of Slicer’s user interface.

## Slide 9: Slicer User Interface
Main Menu
3D viewer
2D anatomical viewers
User Interface (UI) panel
of the Slicer Welcome Module
Data Probe
Toolbar

## Slide 10: Welcome Module
The Tutorials & Information tab contains links to the Slicer4 training compendium and documentation.

## Slide 11: Slicer4.0 Documentation &Training
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0/Training
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0

## Slide 12: Welcome Module
The Welcome module panel contains shortcuts for loading different types of data. A series of sample data are also available.
Click on Download Sample Data to access the Sample Data Module

## Slide 13: Sample Data
The Sample Data module contains links to six different sample datasets that can be downloaded into Slicer.

## Slide 14: Sample Data
Brain MRI
Chest CT
Cardiac CT
Diffusion Tensor Imaging (DTI) Dataset
Brain MRI (tumor patient)

## Slide 15: Sample Data
Click on Download MRHead to download the dataset in Slicer.

## Slide 16: Welcome Module
The MR scan of the brain appears in the 2D viewers.

## Slide 17: MR Brain Sample Dataset
Click on the pin icon at the top left corner of the red viewer to display the viewer menu

## Slide 18: MR Brain Sample Dataset
Click on the link icon to link all three 2D viewers, and on the eye icon next to it to display the slices in the 3D viewer.

## Slide 19: MR Brain Sample Dataset
The axial, coronal and sagittal slices appear in the 3D viewer.
Go back to the Welcome module using the green arrow in the toolbar.

## Slide 20: MR Brain Sample Dataset
Click on the tab Mouse & Keyboard to learn the different mouse actions to rotate the images and zoom in and out.

## Slide 21: Going Further
To learn more about Slicer and its different functionalities, visit the Slicer4.0 training compendium.
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0/Training

## Slide 22: Acknowledgments
National Alliance for Medical
Image Computing
NIH U54EB005149
Neuroimage Analysis Center
NIH P41RR013218