## Slide 1: Registration in Slicer3
Julien Jomier Kitware Inc.

## Slide 2: Registration
Coordinate System conversion
Not only image-to-image: model-to-model, model-to-image
Involves resampling and therefore interpolation
Linear: Rigid, Similarity, Affine
Deformable: TPS, EBS, B-Spline

## Slide 3: Coordinate System Conversion
Fixed Image Grid
j
i
y
x
Fixed Image Physical Coordinates
y’
x’
Moving Image Physical Coordinates
Moving Image Grid
j
i
Space Transform

## Slide 4: Scaling Factor
Images provided as part of the project: “Retrospective Image Registration Evaluation”, NIH, Project No. 8R01EB002124-03, Principal Investigator, J. Michael Fitzpatrick, Vanderbilt University, Nashville, TN.
Images from the same patient
256 x 256 pixels
MRI-T2
Scaling Transform
128 x 128 pixels
PET

## Slide 5: Things I will not do
I will not register images in pixel space
I will not register images in pixel space
I will not register images in pixel space
I will not register images in pixel space
I will not register images in pixel space
I will not register images in pix

## Slide 6: Registration Framework
Fixed Image
Moving Image
Metric
Transform
Interpolator
Optimizer
Registration Method

## Slide 7: Selecting Moving & Fixed Images
In principle the denomination of
Fixed Image & Moving Image
is arbitrary
In practice the moving image
is the one that will be resampled
into the fixed image
coordinate system

## Slide 8: Registration Initialization
Coarse-to-fine approach
Center of mass
High order moments (principal axes)
RealignVolume

## Slide 9: Mutual Information
Mutual dependence between pixel values of images
Based on histograms

## Slide 10: Joint Histograms: Mono-modality
Images Aligned
Translated by 0 to 20 pixels
White = zero value
Black = highest value
Misalignment causes dispersion

## Slide 11: Joint Histograms: Multi-modality
Translated by 0 to 20 pixels
Misalignment causes dispersion
Images Aligned
White = zero value
Black = highest value

## Slide 12: Affine Registration
Mattes Mutual Information
Histogram Bin
Spatial Samples
Translation scaling - Rotation and translation are not in the same units

## Slide 13: Deformable Transform
y
Fixed Image
Transform
x
y
Moving Image
x

## Slide 14: Deformable transform
y
Fixed Image
Transform
x
y
Moving Image
x

## Slide 15: Deformable Transformation
y
x

## Slide 16: BSpline Grid
y
x
BSpline
Grid
Resampling
Grid

## Slide 17: BSplines Grid & Image Grid

## Slide 18: BSplines Grid & Image Grid
BSpline
Grid

## Slide 19: BSplines Grid & Image Grid
BSpline
Grid
Valid
Region

## Slide 20: BSplines Grid & Image Grid
BSpline
Grid

## Slide 21: BSplines Grid & Image Grid
BSpline
Grid
Valid
Region

## Slide 22: BSpline Registration
Mutual Information (Mattes)
LBFGSBOptimizer
Constrain Deformation: constrain the optimizer by bounds

## Slide 23: Slicer Demo
Open Slicer
Load Datasets
Affine Registration
BSpline Deformable Registration
Transfer Functions Visualization

## Slide 24: Loading Datasets

## Slide 25: Affine Registration

## Slide 26: Affine Registration

## Slide 27: Deformable Registration

## Slide 28: Deformable Registration

## Slide 29: Adjusting Transfer Functions