## Slide 1
CARMA Registration
Alan Morris, Greg Gardner, Salma Bengali, Josh Cates, Rob MacLeod
SCI Institute/CARMA Center
University of Utah
© 2012, All Rights Reserved

## Slide 2: Learning Objective
Cardiac MRI image registration in Slicer
© 2012, All Rights Reserved

## Slide 3: Current Workflow
Fixed Image
Moving Image
Registered Image
© 2012, All Rights Reserved

## Slide 4
Slicer: Release 4.1
http://www.slicer.org/pages/Downloads/
Data: CARMA Slicer Extension Tutorial Data
http://hdl.handle.net/1926/1765
Required Materials
© 2012, All Rights Reserved

## Slide 5: Additional Sample Data
60 patients
http://hdl.handle.net/1926/1757
© 2012, All Rights Reserved

## Slide 6
Pre-requisite Tutorial
© 2012, All Rights Reserved
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0/Training

## Slide 7
Platforms
© 2012, All Rights Reserved
Developed
Tested

## Slide 8
Overview
© 2012, All Rights Reserved
Load the module
Load the dataset
Image registration

## Slide 9: Loading the Module
Select View>Extension Manager in the menu bar (or push ⌘4)
If the Extension Manager isn’t revealed, see the next 2 slides; otherwise, skip them
© 2012, All Rights Reserved

## Slide 10: Loading the Module
To load the Extension Manager, Select Edit>Application Settings in the menu bar (or push ⌘2)
© 2012, All Rights Reserved

## Slide 11: Loading the Module
Under the Extension menu, make sure ‘Enable extension manager’ is checked
© 2012, All Rights Reserved

## Slide 12: Loading the Module
Select CARMA in the sidebar and click the extensions
© 2012, All Rights Reserved

## Slide 13: Loading the Module
Restart to install the extension
© 2012, All Rights Reserved

## Slide 14: Loading the Data
Select ‘Choose Directory to Add’ in the pop-up menu
© 2012, All Rights Reserved

## Slide 15: Loading the Data
Select the directory containing your dataset
© 2012, All Rights Reserved

## Slide 16: Loading the Data
© 2012, All Rights Reserved

## Slide 17: Image Registration
Parameter Sets
Output volume
Input volumes
{
© 2012, All Rights Reserved

## Slide 18: Image Registration
Under the Imaging Modality, select the appropriate option. (In this example it is LGE-MRI to LGE-MRI)
© 2012, All Rights Reserved

## Slide 19: Image Registration
Indicate if input image volumes are cropped
© 2012, All Rights Reserved

## Slide 20: Image Registration
Apply the registration
© 2012, All Rights Reserved

## Slide 21: Image Registration
Viewer automatically updates to show the resulting output
© 2012, All Rights Reserved

## Slide 22: Image Registration
Advanced registration parameters can be adjusted to check for improvements in the registration result.
© 2012, All Rights Reserved

## Slide 23: Conclusion
This module can be used to register two cardiac MRI image volumes.
© 2012, All Rights Reserved