## Slide 1
Isolated Connected Image Filter
Salma Bengali, Alan Morris, Josh Cates, Rob MacLeod
SCI Institute/CARMA Center
University of Utah
© 2012, All Rights Reserved

## Slide 2: Learning Objective
Isolated Connected Image Filter in Slicer
© 2012, All Rights Reserved

## Slide 3: Current Workflow
Cardiac LGE-MRI Image
Segmented Image
© 2012, All Rights Reserved

## Slide 4
Slicer: Release 4.1
http://www.slicer.org/pages/Downloads/
Data: CARMA Slicer Extension Tutorial Data
http://hdl.handle.net/1926/1765
Required Materials
© 2012, All Rights Reserved

## Slide 5: Additional Sample Data
60 patients
http://hdl.handle.net/1926/1757
© 2012, All Rights Reserved

## Slide 6
Pre-Requisite Tutorial
© 2012, All Rights Reserved
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0/Training

## Slide 7
Platforms
© 2012, All Rights Reserved
Developed
Tested

## Slide 8
Overview
© 2012, All Rights Reserved
Load the module
Load the dataset
PV Antrum Cut

## Slide 9: Loading the Module
Select View>Extension Manager in the menu bar (or push ⌘4)
If the Extension Manager isn’t revealed, see the next 2 slides; otherwise, skip them
© 2012, All Rights Reserved

## Slide 10: Loading the Module
To load the Extension Manager, Select Edit>Application Settings in the menu bar (or push ⌘2)
© 2012, All Rights Reserved

## Slide 11: Loading the Module
Under the Extension menu, make sure ‘Enable extension manager’ is checked
© 2012, All Rights Reserved

## Slide 12: Loading the Module
Select CARMA in the sidebar and click the extensions
© 2012, All Rights Reserved

## Slide 13: Loading the Module
Restart to install the extension
© 2012, All Rights Reserved

## Slide 14: Loading the Data
Select ‘Choose Directory to Add’ in the pop-up menu
© 2012, All Rights Reserved

## Slide 15: Loading the Data
Select the directory containing your dataset
© 2012, All Rights Reserved

## Slide 16: Loading the Data

## Slide 17: Image Segmentation
Fiducials
Output volume
Input volume
© 2012, All Rights Reserved

## Slide 18: Image Segmentation
Select the Annotations menu option
© 2012, All Rights Reserved
Set the lower threshold depending on the intensity of the region being segmented

## Slide 19: Image Segmentation
Create two sets of fiducials. One inside the region to be segmented, and the other outside it.
© 2012, All Rights Reserved

## Slide 20: Image Segmentation
Apply the segmentation
© 2012, All Rights Reserved

## Slide 21: Image Segmentation
Viewer automatically updates to show the resulting output
© 2012, All Rights Reserved

## Slide 22: Conclusion
This module can be used to segment the endocardium region from an LGE-MRI or MRA scan.
© 2012, All Rights Reserved